## Slide 1
EXPT. 2
STUDY OF DIFFERENT TYPES OF ERRORS IN ANY ONE MEASUREMENT SYSTEM.
ERRORS
HUMAN ERROR OR
GROSS ERRORS
SYSTEMATIC ERROR
RANDOM ERROR
OPERATIONAL ERROR
PERSONAL ERROR
INSTRUMENTAL ERROR
ENVOIRNMENTAL ERROR

## Slide 2
HUMAN ERROR OR GROSS ERRORS
PERSONAL ERROR
HUMAN MISTAKES IN READING INSTRUMENT.
RECORDING AND CALCULATING.
INACCURATE CONVERSION OF UNITS.
INACCCURATE ESTIMATE OF AVERAGE READING.
DUE TO
INDIVIDUAL LIMITATION/SKILL
LACK OF EXPERIENCE
OBSERVATIONAL ERROR SUCH AS PARALLAX ERROR
B) OPERATIONAL ERROR:
ERROR ASSOCIATED DUE TO IMPROPER ALIGNMENT OR ASSEMBLY.
IMPROPER METHOD OF OPERATION.
EG
THERMOMETER WILL NOT SHOW PROPER READING IF ITS THERMAL BULB NOT INSTALLED PROPERLY.
IN ULTRASONIC TEST , ERROR DUE TO IMPROPER USE OF PROBE WITH BODY.
FLOW METER GIVE WRONG READINGS IF IT IS INSTALLED NEAR BEND OF PIPE OR IMMEDIATE AFTER VALVES.

## Slide 3
  ERRORS IN MEASURING INSTRUMENTS
  THERE ARE THREE TYPES OF ERRORS IN THE MEASURING INSTRUMENTS:
  ASSEMBLY ERRORS
  ENVIRONMENTAL ERRORS
  RANDOM ERRORS.
  ASSEMBLY ERRORS
  THE ASSEMBLY ERRORS ARE THE ERRORS IN THE MEASURING INSTRUMENT DUE TO IMPROPER MANUFACTURING OF THE INSTRUMENTS.
  VARIOUS COMPONENTS OF THE INSTRUMENT ARE MADE SEPARATELY AND THEN THEY ARE ASSEMBLED TOGETHER.

## Slide 4
SOME OF THE POSSIBLE ASSEMBLY ERRORS:
DISPLACED SCALE:
THIS IS THE INCORRECT FITTING OF THE MEASURING SCALE. FOR INSTANCE THE ZERO OF POINTER MAY NOT COINCIDE WITH ACTUAL ZERO ON THE SCALE. SOMETIMES THE SCALE GETS CRACKED, THUS SHOWING THE FAULTY READINGS.
B) NON-UNIFORM SCALE:
SOMETIMES THE SCALE OF THE MEASURING INSTRUMENT IS NOT DIVIDED UNIFORMLY. IN SOME PART OF THE SCALE THE MARKINGS MAY BE TOO CLOSE AND IN OTHER PARTS TOO FAR.

## Slide 5
C) THE POINTER IS BENT:
THIS HAPPENS IN MANY CASES. THE POINTER MAY GET BENT IN EITHER HORIZONTAL DIRECTION OR THE VERTICAL DIRECTION, IN EITHER CASE, IS SHOWS ERRONEOUS READING.
D) MANUFACTURING ERRORS IN THE COMPONENTS:
THE INSTRUMENTS ARE MADE UP OF A NUMBER OF SMALL COMPONENTS, WHICH MAY BE MANUFACTURED IN DIFFERENT PLACES. SOMETIMES THERE ARE MANUFACTURING ERRORS IN SOME OF THESE COMPONENTS LIKE GEAR, LEVER, LINKS, HINGES ETC.

## Slide 6
  2) ENVIRONMENTAL ERRORS
THE MEASURING INSTRUMENTS ARE ASSEMBLED AND CALIBRATED IN CERTAIN ENVIRONMENTAL CONDITIONS AND ARE DESIGNED TO BE USED IN WITHIN CERTAIN RESTRICTED CONDITIONS, BUT WHEN THEY ARE USED IN DIFFERENT CONDITIONS, THERE ARE ERRORS IN MEASUREMENT, WHICH ARE CONSIDERED TO BE THE ENVIRONMENTAL ERRORS.
MOST OF THE INSTRUMENTS ARE DESIGNED TO BE USED WITHIN CERTAIN LIMITS OF TEMPERATURE, PRESSURE, HUMIDITY, ALTITUDE ETC AND WHEN THE LIMITS ARE EXTENDED THERE ARE ERRORS IN THE MEASURING INSTRUMENTS.
IT IS QUITE EASIER TO FIND THE ASSEMBLY ERRORS IN INSTRUMENTS, BUT THE ERRORS DUE TO CHANGE IN ENVIRONMENTAL CONDITIONS ARE HIGHLY UNPREDICTABLE.

## Slide 7
PRECAUTIONS TO BE TAKEN TO REDUCE THE ENVIRONMENTAL ERRORS IN THE INSTRUMENTS:
A) USE IN THE INSTRUMENTS WITHIN THE SPECIFIED LIMITS OF TEMPERATURE, PRESSURE AND HUMIDITY FOR WHICH THE INSTRUMENT HAS BEEN DESIGNED.
B) IF YOU HAVE TO USE THE INSTRUMENT BEYOND THE SPECIFIED LIMITS OF ENVIRONMENTAL CONDITIONS, THEN APPLY SUITABLE CORRECTIONS TO THE RECORDED MEASUREMENT.
C) ONE CAN ALSO CALIBRATE THE INSTRUMENT NEWLY IN THE NEW CONDITIONS.
D) THERE ARE SOME DEVICES THAT ENABLE APPLYING THE COMPENSATION AUTOMATICALLY.

## Slide 8
  3) RANDOM ERRORS
APART FROM THE ASSEMBLY AND ENVIRONMENTAL ERRORS THERE CAN BE MANY OTHER ERRORS WHICH MAY BE VERY DIFFICULT TO TRACE AND PREDICT, THESE ARE CALLED AS RANDOM ERRORS.
FRICTIONAL ERRORS:
THERE ARE NUMBER OF MOVING MECHANICAL PARTS IN THE ANALOGUE MEASURING INSTRUMENTS. THE FRICTION BETWEEN THESE COMPONENTS LEADS TO ERRORS.
DUE TO FRICTION SOME OF THE PARTS WEAR AND TEAR, WHICH FURTHER ADDS TO THE ERROR OF THE INSTRUMENT. HENCE, ONE SHOULD NOT USE THE ANALOGUE MEASURING INSTRUMENTS FOR LONG PERIODS OF TIME AND REPLACE WITH THE GOOD QUALITY ONES FROM TIME-TO-TIME.

## Slide 9
B) MECHANICAL VIBRATIONS:
WHEN THE INSTRUMENT IS USED IN VIBRATING PLACE THE PARTS OF THE INSTRUMENT START VIBRATING GIVING FAULTY READINGS.
C) BACKLASH IN THE MOVEMENT:
THIS IS THE ERROR DUE TO TIME LAG BETWEEN THE APPLICATION OF THE PARAMETER AND THE INSTRUMENT ACTUALLY SHOWING READING. EVEN THOUGH SOME VALUE OF THE PARAMETER CHANGES, THERE IS NO INDICATION.
D) HYSTERESIS OF THE ELASTIC MEMBERS:
OVER THE PERIOD OF TIME THE ELASTIC MEMBERS TEND TO LOOSE SOME ELASTICITY LEADING TO ERRORS IN THE INDICATED VALUE OF THE INSTRUMENT.
E) FINITE SCALE DIVISIONS:
THE SCALE MARKING CAN BE MADE ONLY UP TO CERTAIN LIMITS AND THEY NOT BE HUNDRED PERCENT ACCURATE.

## Slide 10
BOURDON TUBE PRESSURE GAGE
IDENTIFY THE SOURSES OF ERRORS IN BOUDON TUBE PRESSURE GAGE

## Slide 11
ERRORS IN PRESSURE GAGE:
BACKLASH IN PINION AND RACHET, MISALIGNMENT OF THE SAME
CALIBRATION ERROR OF SCALE, SCALE DIVISIONS MAY NOT BE PROPER
FRICTION IN LINKAGE , RACHET AND PINION
FRICTION IN MOVING PARTS
WEAR AND TEAR OF PARTS
PARALLAX ERROR
OBSERVATIONAL ERROR
UNIT CONVERSION ERROR
THERMAL EXPANSION OF TUBE OR LINKAGE
INSTRUMENTAL ERROR
RANDOM ERRORS
HUMAN ERROR
ENVIRONMENTAL ERROR

## Slide 12
THANKS !!!